Shed 2, 32 Sumners Road,

Sumner Park, Brisbane QLD 4074

Ph: (07) 3279 5600 Fax: (07) 3279 5616

sales@designerwatering.com.au

www.designerwatering.com.au

| QTY | PRESSURE POLY PIPE & PRESSURE FITTINGS | Item Price | Item Total |
| --- | --- | --- | --- |
|  |  | incl GST | incl GST |
|  | Tap to Backflow prevention device (brassware): |  |  |
|  | Y Piece Brass, 15mm |  |  |
|  | Garden Tap, 15mm |  |  |
|  | Bush, Poly 25mm male thread x 20mm female thread |  |  |
|  | Dual Check Valve, Brass 25mm DR (female thread both ends) |  |  |
|  | OR |  |  |
|  | Mains Pressure Pipe connection to Backflow prevention device: |  |  |
|  | Tee, Pressure 25mm, Poly / 25mm female thread / Poly |  |  |
|  | Nipple, Poly, male thread x male thread, 25mm |  |  |
|  | Ball Valve, Brass 25mm DR (female thread both ends) |  |  |
|  | Nipple, 25mm Brass (male thread both ends) |  |  |
|  | Dual Check Valve, Brass 25mm DR (female thread both ends) |  |  |
|  | Pressure Poly Pipe & Fittings from Backflow device: |  |  |
|  | Tee, Pressure 25mm, Poly / Poly / Poly |  |  |
|  | Elbow, Pressure 25mm, Poly / Poly |  |  |
|  | Elbow, Pressure 25mm, Poly / 25mm female thread |  |  |
|  | End Connector, Pressure 25mm, Poly / 25mm female thread |  |  |
|  | End Connector, Pressure 25mm, Poly / 25mm male thread |  |  |
|  | Pipe, Pressure Poly, Black 25mm PN12.5 / mt |  |  |
|  | Control Valve manifold: |  |  |
|  | Manifold, 3 port O-ring type, female swivel & male thread, 25mm |  |  |
|  | Tee, O-ring type, female Swivel & male thread, 25mm |  |  |
|  | Elbow, O-ring type, female Swivel, 25mm |  |  |
|  | Nipple, O-ring type, male thread x male thread, 25mm |  |  |
|  | Riser, Poly 150mm x 25mm (spacer between Valve Boxes) |  |  |
|  | Coupling, O-ring type, female swivel, 25mm |  |  |
|  | Cap 25mm female thread |  |  |
|  | Sundry: |  |  |
|  | Thread Tape, White (for Poly Fittings) |  |  |
|  | Thread Tape, Pink (for metal fittings) |  |  |
|  | Page Total incl GST |  |  |